## cvpg data sheets (2)
SRI SOMESHWAR SAHAKARI SAKHAR KARKHANA LTD., BARAMATI, PUNE DISTRICT, MAHARASHTRA
EXPANSION OF COGENERATION PLANT FROM 18 MW TO 36 MW
REQUEST FOR QUOTATION (RFQ) FOR SWITCHYARD PACKAGE
VOLUME - III OF III
BIDDER INFORMATION, DATA SHEETS AND SCHEDULES
CONTROLLED COPY |  |  | UN-CONTROLLED COPY
0 | 17.11.22 | FIRST ISSUE | SB | SB | NT
REV. NO. | DATE | DESCRIPTION | PREPARED | CHECKED | APPROVED
|  |  | DOCUMENT NO. |  | No.of Sheets (including cover sheet)
|  |  | 4- 2021151-900-0605 |  | 74

## index
1 | BIDDER INFORMATION
2 | DATA SHEETS
2.1 | DATA SHEET FOR TRANSFORMERS
2.2 | DATA SHEET FOR CIRCUIT BREAKERS
2.3 | DATA SHEET FOR ISOLATORS AND EARTH SWITCH
2.4 | DATA SHEET FOR INSTRUMENT TRANSFORMERS
2.5 | DATA SHEET FOR LIGHTNING ARRESTORS
2.6 | DATA SHEET FOR BUSBARS, INSULATORS AND ACCESSORIES
2.7 | DATA SHEET FOR SWITCHYARD RELAY AND CONTROL PANELS
2.8 | DATA SHEET FOR STRUCTURAL WORKS
2.9 | DATA SHEET FOR CABLES
2.1 | DATA SHEET FOR MISCELLANEOUS ITEMS
3 | SCHEDULES
3.1 | TECHNICAL DEVIATIONS
3.2 | COMMERCIAL DEVIATIONS
3.3 | PRICE SCHEDULE
3.4 | TIME SCHEDULE FOR ENGINEERING, MANUFACTURING, SHIPMENT AND E & C
3.5 | WEIGHTS AND DIMENSIONS
3.6 | SPECIAL TOOLS & TACKLES FOR MAINTENANCE
3.7 | BIDDERS EXPERIENCE
3.8 | GUARANTEE SCHEDULE

## BidderInf shtcvpg
1.0 BIDDER INFORMATION

## Bidder infrm
S.No | Description | Unit
1 | Bidder's complete Company Name and Postal Address
2 | Tender Reference and Date
3 | Proposal Validity (No.of Days)
4 | Whether particulars of past similar experiences furnished?
5 | Name and particulars of Collaborator, if applicable
6 | Equipment warranty period from the date of commissioning
7 | Whether furnished offer as per specifications?
8 | Whether list of deviations / exclusions taken furnished?
9 | Whether all taxes & duties included in the price schedule?
10 | Whether offer for 2 years operations spares included?
11 | Whether all commissioning spares included in base offer?
12 | Whether work schedule is as per bid document?
13 | Whether equipment performance guarantee furnished?
14 | Whether the drawings required as per the specification enclosed?
15 | Whether quality plan enclosed?
16 | Whether bid form is enclosed?
17 | Whether firm prices are provided?
18 | Whether price schedules are provided as per the prescribed formats?
19 | Whether bid security is provided?
20 | Whether the terms of payment is as per the prescribed format?
Signature Of The Bidder :
21 | Whether the Liquidated Damages is as per the bid document?
22 | Whether the performance security is as per the bid document?
Signature Of The Bidder :

## Data shtcvpg
2.0 DATA SHEETS

## trcvpage
2.1 DATA SHEET FOR TRANSFORMERS
CONTROLLED COPY |  |  | UN-CONTROLLED COPY
0 | 07.11.17 | FIRST ISSUE | SB | NT | SBG
REV. NO. | DATE | DESCRIPTION | PREPARED | CHECKED | APPROVED
|  |  | DOCUMENT NO. |  | No.of Sheets (including cover sheet)
|  |  | TS-E10 |  | 13

## transformer
S.No | Description | Unit | Details
(The bidder shall fill this separately for all types of transformers)
1.0 | Name of the manufacturer and address
2.0 | Applicable Standards
3.0 | Ratings
3.1 | Continuous ratings under conditions specified in IS : 2026
3.2 | Rating in (MVA) with ONAN cooling
3.3 | Rated Voltage:
| a. HV | kV
| b. LV | kV
3.4 | Rated frequency | Hz
3.5 | Voltage Variation
3.6 | Frequency variation
3.7 | Number of phases
3.8 | Full load current on principal tap:
| a. HV | Amps
| b. LV | Amps
4.0 | Connections:
a. HV
b. LV
5.0 | Connection Symbol:
a. HV
b. LV
6.0 | Temperature rise
Signature of the bidder :
6.1 | Temperature rise of oil above reference peak ambient temperature | Deg. C
at ONAN rating (By thermometer)
6.2 | Temperature rise of winding above reference peak ambient | Deg. C
temperature at ONAN rating (By resistance method)
6.3 | Limit of hot spot temperature for which the transformers are | Deg. C
designed
6.4 | Maximum hot spot temperature under normal conditions of loading | Deg. C
(at MCR)
6.5 | Ambient peak temperature specified | Deg. C
7.0 | Tapings in windings on HV side
7.1 | No. of steps
7.2 | Range of tapings
8.0 | No load losses
8.1 | No load losses at rated voltage and frequency at principal tap | kW
8.2 | Tolerance if any, on the above values
9.0 | Load losses
9.1 | Load losses at rated output, rated frequency and corrected for | kW
75 Deg. C
9.2 | Tolerance if any, on the above values
10.0 | Total losses at normal ratio | kW
11.0 | Resistance and reactance
11.1 | Resistance per phase:
| a. HV winding | Ohms
| b. LV winding | Ohms
11.2 | a. Impedance voltage at normal ratio at MCR | %
Signature of the bidder :
b. Tolerance, if any
11.3 | Percentage reactance drop on full load | %
11.4 | Percentage impedance drop on full load | %
11.5 | Maximum variation from impedance voltage at normal ratio
throughout the range of tapings between HV and LV windings:
| a. Plus (approx) | %
| b. Minus (approx) | %
11.6 | Equivalent resistance referred to HV side | Ohms
11.7 | Equivalent resistance referred to LV side | Ohms
12.0 | Positive sequence impedance on rated MVA base at rated current | %
and frequency at 75 Deg. C at principal tap
13.0 | Zero sequence impedance at reference temperature of 75 Deg. C at | %
principal tap
14.0 | Reactance at rated MVA base at rated current and frequency | %
14.1 | At unity power factor | %
14.2 | At 0.8 pf (lagging) | %
15.0 | Regulation of full load and 75 Deg. C winding temp. expressed as
a expressed as a percentage of normal voltage
15.1 | At unity power factor | %
15.2 | At 0.8 pf (lagging) | %
16.0 | Efficiency of 75 Deg. C winding temperature as derived from
guaranteed loss figures at:
16.1 | Full load percent | %
16.2 | 3/4 load percent | %
16.3 | 1/2 load percent | %
Signature of the bidder :
16.4 | 1/4 load percent | %
17.0 | Details of special constructional features for generator transformer
18.0 | Short time rating for 2 second of:
a. HV winding
b. LV winding
19.0 | Permissible overloading:
a. HV winding
b. LV winding
20.0 | Confirm overloading capacity of transformer and all associated
items are as per IS:6600
21.0 | Calculated time constant (approx) | Hours
22.0 | Terminal arrangement:
a. High Voltage
b. Low Voltage
c. Neutral
23.0 | Insulating and cooling medium
24.0 | Test Voltage:
| a. Lightning impulse withstand voltage | kV (peak)
| b. Power frequency withstand test voltage (dry and wet) | kV (rms)
| c. Induced over voltage withstand voltage | kV (rms)
d. Voltage to earth for which star points of the transformer LV
windings will be insulated
25 | Details of Core:
25.1 | Type of construction
25.2 | Type of core joints
25.3 | Flux density at rated voltage and frequency and at principal tap | Tesla
Signature of the bidder :
25.4 | Over Fluxing withstand requirement
a. 110 %
b. 125 %
c. 140 %
25.5 | Magnetising current on HV side at normal ratio at normal voltage
and frequency
25.6 | Power factor of magnetising current:
a. under normal voltage ratio and frequency
b. under 10% over voltage and 3% under frequency
25.7 | Core lamination:
a. Material of core laminations
b. Thickness of core laminations
25.8 | Core bolts:
a. Whether core construction is without core bolts
b. Insulation of core bolt
c. Insulation of core bolt washers
d. Insulation between core laminations
e Core bolt insulation withstand voltage for 1 min
25.9 | Specific loss of the core material at working flux density | W/kg
25.1 | Whether core plates are grain oriented on cold roll
25.11 | Type of core - "core"/ "shell"
25.12 | Whether the core and windings are impregnated after assembly ?
25.13 | In-rush current and duration when charged from:
a. HV Side
b. LV Side
26 | Details of windings
26.1 | Type of windings:
Signature of the bidder :
a. HV
b. LV
26.2 | Material of winding conductor
26.3 | Maximum current density of windings (at rated current) &
conductor area:
a. HV
b. LV
26.4 | Whether HV windings are inter-leaved ?
26.5 | Whether windings are pre-shrunk ?
26.6 | Whether adjustable coil clamps are provided for HV and LV
windings ?
26.7 | Whether electrostatic shields are provided to obtain uniform
voltage distribution in the HV windings ?
26.8 | Insulating material used for:
a. HV winding
b. LV winding
26.9 | Insulating material used between:
a. HV and LV winding
b. LV winding and core
26.1 | Type of axial coil supports:
a. HV winding
b. LV winding
26.11 | Type of radial coil supports:
a. HV winding
b. LV winding
26.12 | Maximum allowable torque on coil clamping bolts
Signature of the bidder :
26.13 | Whether or not special arrangements are provided to improve
stress conditions (stress control) ?
26.14 | Are the end turns reinforced? If so, details of reinforcement
26.15 | Whether windings are dried or under vacuum and flooded with hot oil
26.16 | Impulse strength of windings:
| a. HV | kv (Peak)
| b. LV | kv (Peak)
27 | Bushings
27.1 | Make and type
27.2 | Rating:
| a. Rated voltage class | kV
| b. Rated voltage of neutral bushing | kV
| c. Rated Current (Amps) | Amps
27.3 | Lighting impulses withstand test voltage (1.2 X 50 micro second) | kV
27.4 | Switching surge withstand test voltage | kV (peak)
27.5 | Power frequency withstand test voltage:
| a. Wet for 1 minute | kV (rms)
| b. Dry for 1 minute | kV (rms)
27.6 | Visible corona discharge voltage | kV (rms)
27.7 | Partial discharge level
27.8 | Creepage distance | mm
27.9 | Creepage distance (protected) | mm
27.1 | Whether test tap is provided ?
27.11 | Quantity of oil in bushing and specification of oil used | Kg
Signature of the bidder :
27.12 | Weight of assembled bushing | Kg
27.13 | Minimum clearance height for removal of bushing | mm
28 | Minimum clearance :
| a. HV | mm
| b. LV | mm
29 | Bushing Current Transformers
29.1 | Type and Make
29.2 | Ratio
29.3 | Class of accuracy as per IS : 2705 Part IV of latest issue
29.4 | VA Burden
29.5 | Saturation Factor
29.6 | Over-current factor and time
29.7 | Continuous overload | %
29.8 | Dry, wet and impulse flash over voltage | kV
29.9 | Weight | Kg
29.1 | Material of the core
30 | Approximate Weight of Transformers
30.1 | Core Steel | Kg
30.2 | Coil with insulation | Kg
30.3 | Core and Winding | Kg
30.4 | Oil required for first filling | Kg
30.5 | Weight of fittings with accessories | Kg
Signature of the bidder :
30.6 | Tanks and fittings with accessories | Kg
30.7 | Untanking weight | Kg
30.8 | Total weight with oil & fittings | Kg
30.9 | Weight of steel required to complete the transformer | Kg
31.1 | Details of Tanks
31.1 | Type of Tank
31.2 | Approximate thickness of sheet:
| a. Sides | mm
| b. Bottom | mm
| c. Cover | mm
| d. Cooling Tubes / Radiators | mm
31.3 | Materials of tanks and construction
31.4 | Vacuum recommended for hot oil circulation | torr
31.5 | Vacuum to be maintained during oil filling in transformer tank | torr
31.6 | Vacuum to which the tank can be subjected without distortion | torr
31.7 | No. of bi-directional wheels provided
31.8 | Track gauge required for the wheels
a. Trans axis
b. Long axis
31.9 | Type of pressure relief device / explosion vent and pressure at
which it operates
32 | Conservator:
| a. Total volume | liters
| b. Volume between the highest & lowest visible oil level offered | liters
33 | Radiator:
Signature of the bidder :
| a. Overall dimensions | mm
| b. Total weight with oil | Kg
| c. Total weight without oil | Kg
| d. Thickness of radiator tube | mm
e. Type of mounting
f. Vacuum withstand capability
34 | MOG make and type
35 | Gas and oil operated relay make and type
36 | Temperature controllers:
a. Make and Type
b. Permissible setting ranges for alarm and trip
c. Number of contacts
d. Current rating of each contact
e. Whether remote indicators provided.
If so, whether equipment required at purchaser's control room
is included
37.0 | Headroom details:
37.1 | Minimum clearance height for lifting core and winding from tank | mm
cover
37.2 | Minimum clearance height for lifting tank cover | mm
38 | Shipping details:
38.1 | Approximate weight of heaviest package | mm
38.2 | Approximate dimension of largest package | mm
39 | Transformers will be transported with oil / gas
40 | Size of the rail recommended for the track
41 | Tap Changing Equipment:
41.1 | Make
41.2 | Type
Signature of the bidder :
41.3 | Rated voltage to earth | kV
41.4 | Rated current | Amps
41.5 | Step voltage | Volts
41.6 | Number of steps
41.7 | Control manual / local electrical / remote electrical
41.8 | Parallel operation
41.9 | Protective devices
41.1 | Auxiliary supply details
41.11 | Voltage control
41.12 | Approximate overall dimensions of tap changer | mm
41.13 | Approximate overall weight | Kg
41.14 | Approximate mass of oil | Kg
41.15 | Particulars of the OLTC control panel for installation in the control
room
42 | Driving mechanism box:
42.1 | Make and type
42.2 | Details of apparatus proposed to be housed in the box
43 | Weight of copper used | Kg
44 | Weight of steel used | Kg
45 | Quantity of transformer oil used (including cooling system, OLTC | KL
and conservator)
46 | Quantity of transformer oil required to cover windings for despatch | KL
47 | Type of gaskets used in the transformer
Signature of the bidder :
48 | Overall dimensions
48.1 | Length | mm
48.2 | Breadth | mm
48.3 | Height | mm
49 | Untanking height | mm
50 | Whether the transformer is designed for use in heavy lightning
area and outdoor application ?
51 | Expected life of the transformer
Signature of the bidder :

## Cbcvpage
2.2 DATA SHEET FOR CIRCUIT BREAKERS
CONTROLLED COPY |  |  | UN-CONTROLLED COPY
0 | 02.08.2017 | FIRST ISSUE | JP | NT | SSR
REV. NO. | DATE | DESCRIPTION | PREPARED | CHECKED | APPROVED
|  |  | DOCUMENT NO. |  | No.of Sheets (including cover sheet)
|  |  | DS-E03 |  | 8

## CB
S.No | Description |  | Unit | Details
1. | GENERAL
a. | Name of Manufacturer
b. | Country of Manufacture
c. | Type of Circuit Breaker
d. | Manufacturer's type designation
e. | Standard Applicable
f. | Rated Voltage
g. | Rated current
i. Under normal condition at 40 Deg.C
ii. Under site condition at 50 Deg.C
h. | Rated Frequency
i. | Number of Poles
j. | Whether gang operated
k. | Whether dead tank or live tank design
l. | Type of installation
m. | No. of breaks per pole
n. | Latching current
2. | GUARANTEED RATINGS
a. | Rated short circuit breaking currents
i. Symmetrical component of rated voltage
ii. DC component (%)
iii. Asymmetrical breaking current at rated voltage
b. | Rated Making Capacity
Signature Of the Bidder :
i. at higher rated voltage
ii. at lower rated voltage
c. | Maximum total break time
d. | Closing time
e. | Maximum opening time
Kg/Hr
f. | Maximum arcing time
g. | First pole to clear factor
h. | Maximum close open time
Kg/Hr
i. | Short time current rating
i. 1 second
ii. 3 seconds
j. | Rated operating duty |  | Kg/Hr
k. | Maximum breaking capacity under kilometric faults
and rated TRV characteristics
l. | Maximum breaking current under phase opposition
| condition |  | KW
m. | Maximum line charging breaking current
n. | Maximum cable charging breaking current
o. | Maximum single capacitor bank switching current
p. | Maximum over voltage on switching transformer on no
load and corresponding charging current
q. | Maximum arc duration and corresponding current under
lockout pressure
r. | Maximum temperature rise for main contacts over an
ambient temperature of 50 Deg.C
s. | Rated voltage and pick-up range
Signature Of the Bidder :
i. for trip coil
ii. for closing coil
t. | Normal power consumption at rated voltage of (watts)
i. trip coil
ii. closing coil
u. | Rated pressure and limits operation |  | Kg/sq.cm.
i. for operating mechanism
ii. for extinguishing medium
v. | Minimum dead time for
i. three phase reclosing
ii. single phase reclosing
w. | Data on restriking voltage |  |  | 100% | 30%
i. TRV peak (kV)
ii. Amplitude Factor
iii. Phase Factor
iv. Rate of rise of restrike voltage
x. | No. of operations of breaker without maintenance
i. at rated interrupting capacity
ii. at 50% of rated interrupting capacity
iii. at rated normal current
iv. at 50% of rated normal current
3. | DIELECTRIC WITHSTANDS OF COMPLETE
BREAKER
a. | One minute dry and wet power frequency withstand
voltage
i. between live terminals and ground (kV rms)
ii. between terminals with breaker contacts open
b. | 1.2/50 microsecond impulse withstand voltage (kV peak)
Signature Of the Bidder :
i. between live terminals and ground
ii. between terminals with breaker contacts open
c. | Creepage distance |  |  | Protected
i. to ground
ii. between terminals
d. | BIV Level
e. | Visible corona discharge voltage
4. | OPERATING MECHANISM
a. | Type of operating mechanism
b. | Capacity of compressor
c. | Rated operating pressure
d. | Range of operating pressure
e. | Air consumption at rated pressure
i. Opening
ii. Close open
f. | Number and capacity of air receivers
g. | No. of CO operations possible with stored capacity
h. | Maximum time for which compressor can operate
continuously
i. | Time to fill air receiver
i. after one CO operation
ii. for making up of lossing during 24 hours
iii. from atmospheric pressure to rated pressure
j. | Pressure at which compressor
i. Starts
ii. Stops
Signature Of the Bidder :
k. | Compressor motor data
l. | Pressure settings on air receiver |  | Kg/Sq.cm.
i. Safety valve opens at
ii. Low air pressure alarm at
iii. Lockout pressure for
closing
opening
auto close
5. | DATA ON SF6 GAS
a. | Quantity of SF6 per pole
b. | Guaranteed maximum leakage rate
c. | Rated pressure of SF6 in operating chamber
d. | Operating pressure range
e. | Capacity of gas container
f. | Spare gas provided
g. | Whether breakers are despatched filled in gas
h. | Parameters of SF6
i. | Gas pressure settings (at 20 Deg.C)
i. Low pressure alarm at
ii. Lockout pressure for
Opening
Closing
6. | GENERAL DIMENSIONS
a. | Overall Dimensions
i. Height
ii. Width
Signature Of the Bidder :
iii. Length
b. | Weight of complete breaker for foundation design
c. | Weight of the heaviest part of the breaker
d. | Impact loading for foundation design
e. | Seismic level
f. | Minimum clearance in air
i. Between live parts
ii. Live parts to earth
iii. Live parts to ground level
g. | Noise level in dB at distance of
i. 0 M
ii. 50 M
iii. 100 M
iv. 150 M
from base of the breaker
7. | CONSTRUCTIONAL DETAILS
a. | Whether arcing contacts are provided
b. | Type and material of main contacts
c. | Type and material of arcing contacts
d. | Whether main contacts are silver plated
e. | Contact pressure on main contacts
f. | Contact seperation
g. | Contact travel
h. | Rate of contact travel (m /s)
i. Opening
ii. Closing
Signature Of the Bidder :
i. | No. of auxiliary contacts per pole provided for Owner's
use
i. NO
ii. NC
j. | Rated voltage of auxiliary contacts
k. | Type of auxiliary contacts
l. | Current capacity
i. Continuous
ii. DC breaking current
m. | Whether auxiliary contacts are silver plated
Signature Of the Bidder :

## isltrcvpage
2.3 DATA SHEET FOR ISOLATOR AND EARTH SWITCH
CONTROLLED COPY |  |  | UN-CONTROLLED COPY
0 | 02.08.2017 | FIRST ISSUE | JP | NT | SSR
REV. NO. | DATE | DESCRIPTION | PREPARED | CHECKED | APPROVED
|  |  | DOCUMENT NO. |  | No.of Sheets (including cover sheet)
|  |  | DS-E04 |  | 3

## Isolator
S.No | Description | Unit | Details
1. | Make
2. | Service (Indoor / Outdoor)
3. | Type
4. | Nominal System Voltage | kV rms
5. | Higher System Voltage | kV rms
6. | Rated continuous current | Amps.
a. Isolator
b. Earth switch
7. | Rated short time withstand currents (1 sec.) Symmetrical
| a. Isolator | KA rms
| b. Earth switch | KA rms
8. | Rated peak current withstand | KA peak
9. | Type of support insulators
10. | Minimum creepage distance
11. | Insulation Levels
| a. Power frequency withstand voltage-dry | kV rms
| b. Lighting impulse withstand voltage | kV peak
12. | Centre line distance between phases | mm
13. | Isolating operating mechanism
a. Hand operated
b. Motor
c. Both (a) and (b)
Signature Of the Bidder :
14. | Earth switch operating mechanism
15. | Type of interlock for operating mechanism
a. Isolator
b. Earth switch
16. | Number and type of auxiliary switches
a. Isolator
b. Earth Switch
17. | Reference Standards
Signature Of the Bidder :

## instrsfr
2.4 DATA SHEET FOR INSTRUMENT TRANSFORMERS
CONTROLLED COPY |  |  | UN-CONTROLLED COPY
0 | 02.08.2017 | FIRST ISSUE | JP | NT | SSR
REV. NO. | DATE | DESCRIPTION | PREPARED | CHECKED | APPROVED
|  |  | DOCUMENT NO. |  | No.of Sheets (including cover sheet)
|  |  | DS-E05 |  | 3

## Instrumentrafo
S.No | Description | Unit
1. | CURRENT TRANSFORMERS
1.1 | Make
1.2 | Service (Indoor / Outdoor)
1.3 | Type
1.4 | Rated Frequency | Hz.
1.5 | Nominal System Voltage | kV rms
1.6 | Highest System Voltage | kV rms
1.7 | System Neutral
1.8 | Rated short time thermal current (1 sec.) | kA
1.9 | Rated peak current withstand | kA peak
1.10 | Insulation level
| a. Power frequency withstand voltage-dry | kV rms
| b. Lightning impulse withstand voltage | kV peak
1.11 | Creepage Distance | mm
1.12 | Maximum temperature rise above 50 Deg.C ambient | Deg.C
1.13 | Core details |  | Metering | Protection
a. Line CKT
Ratio
| Burden | VA
Accuracy
Rated Accuracy
Limit Factor
b. Ratio
| Burden | VA
Accuracy Class
| - Knee point voltage minimum | Vk
| - Magnetising current | Imag
c. Rated Accuracy Limit Factor
Signature Of the Bidder :
1.14 | Applicable Standard
2 | VOLTAGE TRANSFORMERS
2.1 | Service (Indoor / Outdoor)
2.2 | Type
2.3 | Rated Frequency | Hz.
2.4 | Voltage Ratings
| a. Nominal System Voltage | kV rms
| b. Highest System Voltage | kV rms
| c. Primary phase-to-earth voltage | kV rms
| d. Secondary phase-to-earth voltage | V rms
2.5 | System neutral earthing
2.6 | Insulation level
| a. Power frequency withstand voltage-dry | kV rms
| b. Lightning impulse withstand voltage | kV peak
2.7 | Creepage distance | mm
2.8 | Maximum temperature rise above 50 Deg.C ambient | Deg.C
2.9 | Accuracy class and burden | VA/Phase
2.10 | Rated Transformation Ratio
2.11 | Rated voltage Factor
a. Continuous
b. 30 Sec.
2.12 | Applicable Standard
Signature Of the Bidder :

## cvpageLA
2.5 DATA SHEET FOR LIGHTNING ARRESTORS
CONTROLLED COPY |  |  | UN-CONTROLLED COPY
0 | 02.08.2017 | FIRST ISSUE | JP | NT | SSR
REV. NO. | DATE | DESCRIPTION | PREPARED | CHECKED | APPROVED
|  |  | DOCUMENT NO. |  | No.of Sheets (including cover sheet)
|  |  | DS-E06 |  | 2

## dtsLA
S.No | Description | Unit
1. | Service (Indoor / Outdoor)
2. | Type
3. | Class of Duty
4. | Rated Voltage | kV rms
5. | Rated Discharge Current | kA
6. | Maximum residual voltage with 8/20 micro-second wave at 100% rated current | kV peak
7. | Pressure relief test current
| a. High current impulse | kA
| b. Low current long duration | kA
8. | Power frequency voltage withstand - dry | kV rms
9. | Total creepage distance | mm
10. | Maximum radio interference voltage
11 | Accessories
a. Insulating base
b. Discharge counter
c. Grading ring
12. | Terminating Line Side / Earth Side
13. | Reference Standards
Signature Of the Bidder :

## insltr
2.6 DATA SHEET FOR BUSBARS, INSULATORS AND ACCESSORIES
CONTROLLED COPY |  |  | UN-CONTROLLED COPY
0 | 02.08.2017 | FIRST ISSUE | JP | NT | SSR
REV. NO. | DATE | DESCRIPTION | PREPARED | CHECKED | APPROVED
|  |  | DOCUMENT NO. |  | No.of Sheets (including cover sheet)
|  |  | DS-E07 |  | 3

## BBIA
S.No | Description | Unit
1.0 | BUSBARS AND ACCESSORIES
1.1 | Service (Indoor / Outdoor)
1.2 | Nominal Current Rating | A
1.3 | Size of Conductor
a. Ar Tube
| - Internal Diameter | mm
| - External Diameter | mm
| - Cross Sectional Area | Sq.mm
b. ACSR
| - Diameter of Strand | mm
- Number of Strands
| - Gross aluminium cross sectional area | Sq.mm.
1.4 | Number of conductors per phase
1.5 | Allowable maximum conductor temperature | Deg.C
1.6 | Type of terminal clamps
a. Equipment End
b. Line End
1.7 | Type of Connectors (Rigid/Flexible, etc.)
1.8 | Reference Standards
2.0 | DISC INSULATORS AND FITTINGS
2.1 | Service (Indoor / Outdoor)
2.2 | Insulator type
2.3 | Insulator Material
2.4 | Rated Voltage
2.5 | Electro-mechanical strength | Kg.
2.6 | Distance between centres of units | mm
Signature Of the Bidder :
2.7 | Ball and socket size | mm
2.8 | Insulation levels
a. Power frequency voltage withstand in each disc
| - Dry | kV rms
| - Wet | kV rms
| b. Impulse voltage withstand voltage in each disc | kV peak
2.9 | Total creepage distance | mm
2.10 | Type of clamp
2.11 | Reference Standards
3.0 | POST INSULATORS
3.1 | Service (Indoor / Outdoor)
3.2 | Insulator Type
3.3 | Nominal System Voltage | kV rms
3.4 | Highest System Voltage | kV rms
3.5 | Cantilever strength | Kg.
3.6 | Number of units per stack
3.7 | Insulation levels
| a. Dry power frequency voltage withstand | kV rms
| b. Wet power frequency voltage withstand | kV rms
| c. Impulse voltage withstand | kV peak
3.8 | Total creepage distance (minimum) | mm
3.9 | Reference Standards
Signature Of the Bidder :

## cvpgc&rs
2.7 DATA SHEET FOR SWITCHYARD RELAY AND CONTROL PANELS
CONTROLLED COPY |  |  | UN-CONTROLLED COPY
0 | 02.08.2017 | FIRST ISSUE | JP | NT | SSR
REV. NO. | DATE | DESCRIPTION | PREPARED | CHECKED | APPROVED
|  |  | DOCUMENT NO. |  | No.of Sheets (including cover sheet)
|  |  | DS-E08 |  | 3

## c&RData Sheet
S.No | Description |  | Unit
1.0 | PANEL DESIGNATIONS
1.1 | Make and country of manufacture
1.2 | Type of construction
a. Simplex/Duplex/Desk-cum-panel
b. To be matched with existing panels
1.3 | Type of sheet steel (hot / cold rolled)
1.4 | Thickness of sheet steel
|  | Front | mm
|  | Back | mm
|  | Sides | mm
1.5 | Paint treatment and colour shades (external & internal)
1.6 | Weight of each panel section |  | Kg.
1.7 | Dimensions of each panel section
| (width x depth x height) |  | mm
1.8 | Mimic bus, material & colours
1.9 | Space required for installation of all panels |  | Sq.m.
1.10 | General arrangement drawing attached of
a. Individual Panel section
| b. Overall arrangement of complete panels showing |  |  | YES/NO
floor space
1.11 | Largest package for transport
|  | Weight | Kg.
|  | Dimension | mm
1.12 | Instruments, components etc. transported mounted on
panels or separately packed
Signature Of the Bidder :
2.0 | CONTROL AND PROTECTION SYSTEM
The schedule of particulars of protective relaying,
metering and control equipment shall include the
following :
2.1 | Technical Information
2.2 | Equipment
a. | Description, Make, etc.
b. | Application
c. | Operation
d. | Ratings
e. | Contact ratings
f. | Burden
g. | Construction
h. | Dimension
i. | Additional information
2.3 | List of special tools, if any
2.4 | Whether all relays & meters provided as per
specification drawings?
Signature Of the Bidder :

## strworkscv
2.8 DATA SHEET FOR STRUCTURAL WORKS
CONTROLLED COPY |  |  | UN-CONTROLLED COPY
0 | 02.08.2017 | FIRST ISSUE | JP | NT | SSR
REV. NO. | DATE | DESCRIPTION | PREPARED | CHECKED | APPROVED
|  |  | DOCUMENT NO. |  | No.of Sheets (including cover sheet)
|  |  | DS-E09 |  | 3

## SWdatasheet
S.No | Description | Unit
1.0 | Switchyard Levels
a. Ground Level
b. Finished Graded Level
c. Plinth level of foundations
2.0 | Bus height
Low Level :
High Level :
3.0 | Whether typical structural drawings enclosed for:
a. Breaker
b. Isolator
c. CTs
d. PTs
e. PIs
f. LAs
4.0 | Type of Structure
5.0 | Loadings
| Wind load | Kg/Sq.m.
For steel Sections
For tubular bus bars (times projected area)
For equipment (times projected area)
| Wind load on conductor | Kg/Sq.m.
6.0 | Factor of safety
a. | For normal loading condition
b. | For short circuit condition
7.0 | Permissible Stresses
a. For compression members
b. For tensile members
Signature Of the Bidder :
8.0 | Minimum thickness of members
a. Main members
b. Bracings
c. Bolts
9.0 | Minimum l/r ratio
a. Main members
b. Bracings
c. Redundant members
Signature Of the Bidder :

## CBLcvpg
2.9 DATA SHEET FOR CABLES
CONTROLLED COPY |  |  | UN-CONTROLLED COPY
0 | 23.06.17 | FIRST ISSUE | JP | NT | SBG
REV. NO. | DATE | DESCRIPTION | PREPARED | CHECKED | APPROVED
|  |  | DOCUMENT NO. |  | No.of Sheets (including cover sheet)
|  |  | DS-E13 |  | 4

## CABLESds
S.No | Description | Unit
(This data sheet shall be submitted separately for all types of cables)
1 | Type
2 | Name of Manufacturer
3 | Trade Name
4 | Standard Referred
5 | Voltage Rating
6 | Permissible Variation : Voltage & Frequency | %
7 | Suitability for Earthed / Unearthed system
8 | Conductor
8.1 | Material
8.2 | Cross section Area | Sq.mm
8.3 | Minimum No. of wires | Nos.
8.4 | Nominal Diameter of Wire | mm
8.5 | Shape of Conductor
8.6 | Max. D.C. Resistance at 20°C | W / kM
8.7 | Approx. A.C. Resistance at operating Temperature | W / kM
9 | Insulation
9.1 | Material type and composition
9.2 | Nominal Thickness | mm
9.3 | Tolerance on Thickness | mm
9.4 | Insulation Resistance at 27°C (Min.) | MW
9.5 | Core Identification
Signature Of The Bidder :
9.6 | Approx. Diameter over laid-up cores | mm
9.7 | Filters
10 | Inner Sheath
10.1 | Material
10.2 | Extruded or Wrapped
10.3 | Minimum Thickness | mm
10.4 | Approx. Diameter over Inner Sheath | mm
11 | Armouring
11.1 | Type
11.2 | Dimension of Flat Armour Strip (Nominal) | mm
11.3 | Approx. Diameter over armouring | mm
12 | Outer Sheath
12.1 | Material type and composition
12.2 | Minimum thickness of outer sheath | mm
12.3 | Tolerance on thickness | mm
13 | Nominal overall dia. of cable | mm
14 | Approx. net weight of cable | kg / cm
15 | Standard drum length
16 | Drum Size
17 | Approx. Gross weight for normal delivery length | kgs
(considering wooden drum)
18 | Electrical Data
18.1 | Current Rating in Ground (with Ground Temp. of 30°C) | Amps
Signature Of The Bidder :
18.2 | Current Rating in Duct (with Ground Temp. of 30°C) | Amps
18.3 | Current Rating in Air (with Ground Temp. of 40°C) | Amps
18.4 | Approx. reactance per phase at 50 Hz | W / kM
18.5 | Approx. capacitance per phase at 50 Hz | mF / kM
18.6 | Short Circuit Rating for 1 sec. duration | kA
19 | Approx. Drum Dimensions
19.1 | Flange Diameter approx. | mm
19.2 | Barrel Diameter approx. | mm
19.3 | Overall width approx. | mm
19.4 | Approx. drum weight | kgs
20 | Recommended minimum radius | mm
21 | Max. safe pulling force with pulling eye
Signature Of The Bidder :

## Miscellaneous cvpg
2.10 DATA SHEET FOR MISCELLANEOUS ITEMS

## Miscellenous ds
S.No | Description | Unit
I | EARTHING
1.1 | Fault level | MVA
1.2 | Duration | Sec.
1.3 | Material of earthing conductor
1.4 | Size of conductor | mm x mm
1.5 | Type of jointing
1.6 | Depth of Burial | mm
1.7 | Electrode
a. Type
b. Material
| c. Size (dia x length) | mm
1.8 | Safe step and touch potential | Volts
1.9 | Calculated step and touch potential | Volts
1.10 | Test links above ground level
a. Material
| b. Size | mm x mm
1.11 | Effective Earthing Resistance | Ohm
1.12 | Calculated lengh of earth mat conductor | M
II | LIGHTNING PROTECTION
2.1 | Make
2.2 | Electrode
a. Type
b. Material
| c. Size (dia x length) | mm x mm
Signature Of The Bidder :
2.3 | Main earth bus size
2.4 | Size of the conductor to be used
| a. Above ground | mm x mm
| b. Below ground | mm x mm
2.5 | Size of the shield wire and earth material
2.6 | Lightning spike
a. Material
b. Size
2.7 | Test Links
a. Material of links
b. Size of link
c. Material of enclosure and size
2.8 | Type of jointing
III | Distribution Board
1 | Make
2 | Degree of Protection
3 | Busbars
a. Material
| b. Size | mm x mm
| c. Continuous current ratings | A
4 | Earthing
a. Material
b. Size
5 | Incomer / Outgoing Feeder Details
a. Incomer Rating
b. Outgoing
Signature Of The Bidder :
i. Rating
ii. No. of feeders
6 | Switch
a. Make
b. Type
| c. Voltage Rating | V
| d. Current Rating | A
7 | Fuse
a. Make
b. Type
| c. Voltage Rating | V
| d. Current Rating | A
8 | Ammeter
a. Make
b. Range
9 | Voltmeter
a. Make
b. Range
IV | Illumination System
1 | Make
2 | Details of Fittings
a. Type
b. No. Off
3 | Lux. Levels in switchyard (min. & AVS)
4 | Whether all accorssories included for lighting?
V | Cable Trays
1 | Whether cable trays included for all cabling in scope?
Signature Of The Bidder :
2 | Type of cable tray
3 | Whether galvanised?
4 | Galvanisation specification | mg / sq.m
Signature Of The Bidder :

## schecvpg
3.0 SCHEDULES

## Schedules3.1-3.3
3.1 | TECHNICAL DEVIATIONS
NOTE: | All technical deviation from the bid documents shall be listed herein. No cognisance shall be
given to any exceptions stated anywhere else in the Bidder's offer.
Wherever possible the Bidder shall also indicate the time and cost implication of complying
with the specific requirement of the bid documents without taking deviation
Sl. No. | Specification Volume / Section & Page No. | Clause | Description of Deviation
No.
Signature Of The Bidder :
3.2 | COMMERCIAL DEVIATIONS
NOTE: | All commercial deviation from the bid documents shall be listed herein. No cognisance shall be
given to any exceptions stated anywhere else in the Bidder's offer.
Wherever possible the Bidder shall also indicate the time and cost implication of complying
with the specific requirement of the bid documents without taking deviation
Sl. No. | Specification Volume / Section & Page No. | Clause | Description of Deviation
No.
Signature Of The Bidder :
3.3 | PRICE SCHEDULE
1. | This schedule indicates the format under which the prices for the various equipment and services
covered in this specification should be furnished. For detailed specifications for various items furnished
in this price schedule, specification shall be refered.
2. | All commissioning spares shall be included in the base price.
3. | All prices shall be in Indian Rupees.
4. | The 'Unit Prices' in INR, indicated in this schedule shall be 'Firm', irrespective of any variation in
quantities as per final requirement, till completion of the contract
5. | The bill of quantities furnished in this schedule are indicative, which will be used for finalisation of the
order. However, the SUPPLIER shall work out the bill of quantities during detail engineering stage
and obtain approval from MSETCL and also from PURCHASER / CONSULTANT for the actual
bill of quantities. However, payment will be based on actual usage / requirement, as agreed by the
SUPPLIER.
6. | Supply price shall be inclusive of packing & forwarding charges, Freight and Transit Insurance. Goods
and Service Tax shall be extra and indicated separately.
7. | Should there be any variation between total and unit prices, total prices shall govern and shall be used
for evaluation.
8. | Erection & commissioning charges shall be inclusive of unloading, local storage at site & off-site,
handling / leading to site, installation, testing & erection of equipment and its accessories, string of
transmission line, storage / erection insurances, Charges for conducting check survey & detailed
survey, MSETCL approvals, other statutory clearances, Testing and commissioning charges
and erection insurance, which covers unloading, local handling, storage, erection and commissioning
work, but exclusive of Goods and Service Tax. Goods and Service Tax shall be indicated separately.
The erection insurance covers the equipment under PURCHASER's scope of supply.
9. | CONTRACTOR shall furnish the unit rates, Where the 'UR' is mentioned in the Quantity column.
Signature Of The Bidder :

## PriceSch
3.3 | PRICE SCHEDULE
Sl. No. | Description | Unit | Qty. | Supply Price (Rs.) |  | Goods and Service Tax (Rs.) | Erection & Commissioning (Rs.) |  | Goods and Service Tax (Rs.)
|  |  |  | Rate | Amount |  | Rate | Amount
1.0 | Supply, Erection and commissioning of Transformers :
1.1 | Design, Engineering, Manufacture, Testing at works,
Transport to site, Unloading, installation, testing &
commissioning of the following oil immersed transformers:
a) | 20/25 MVA, 11 / 132 kV Generator Transformer with | No. | 1
OLTC along with RTCC panel plus 10% extra oil
1.2 | Supply of 90 Lb rail with embedments | M | 25
1.3 | Oil filtration charges for the above transformers | kL | 26.5
SUB - TOTAL OF 1.0
2.0 | Plant End Switchyard :
2.1 | Lightning Arrestor complete with base and discharge counter | Nos | 3
2.2 | Isolator complete with insulators
a) | With earth switch | Set | 1
b) | Without earth switch | Set | 3
Signature of the Bidder:
2.3 | Single phase oil cooled Potential Transformers | Nos. | 4
2.3.1 | Single Phase oil Cooled Potential Transformer for Tariff | Nos | 6
2.4 | Single phase oil cooled Current Transformers
a) | CT - 2 : 200-100/1-1-1-1-1A | Nos. | 4
b) | CT - 1 : 200/1A | Nos. | 7
2.5 | Junction Boxes for the instrument transformers and | Nos. | 4
marshalling boxes
2.6 | 145 kV SF6 Circuit Breaker with the following spares : | No. | 1
a) | One no. gas filling kit
b) | One set of closing coil
c) | One set of tripping coil
d) | One spring charging motor
2.7 | Switchyard structure comprising of GI structures, GI nuts and | MT | 14
bolts and foundation bolts including receiving line gantries
Signature of the Bidder:
2.8 | Bus bar materials
a) | Solid core post insulators 6 kN | Nos. | 12
b) | IPS Aluminium tube | M | 125
c) | ACSR | M | 30
d) | Clamps and connectors suitable for IPS Tube
| - Rigid | Nos. | 21
| - Expansion / Flexible | Nos. | 37
2.9 | Earthing & Lightning protection for switchyard, including
neutral / body earhting of 20/25 MVA Generator Transformer,
ET, Distribution & Convertor Transformers
a) | 40 mm Dia MS rods (for main earthmat) | M | 2000
b) | 50 x 6 GI Flat (for structure, cable tray equipment and | M | 550
GT body earthing)
c) | 8 SWG GI Wire (JB & Gate earthing) | M | 20
d) | 7/ 8 SWG Earthing wire for lightning protection | M | 200
e) | 50 x 6 mm Cu. Flat (Generator Trafo / ET neutral earthing) | M | 75
f) | 50 x 8 mm Cu. Flat (ET, Converter and | M | 10
Distribution transformer Body Earthing)
g) | 75 x 10 mm Cu. Flat (Distribution & | M | 10
Convertor Transformer Neutral Earthing)
Signature of the Bidder:
h) | Treated earth pits 100 mm dia, 2.75 M long | Nos. | 30
CI pipe earth electrode (as per IS:3043)
i) | Carrying out soil resistivity test at plant | Lot | 1
end switchyard area
2.10 | 1.1 kV Grade PVC insulated, PVC sheathed armoured power
and control cables with termination arrangements, for
Switchyard including control cables of generator transformer
and Distribution, Convertor, earthing transformers area:
Cables
a) | 37 C x 2.5 Sq.mm YFY Cable | M | 300
b) | 12 C x 2.5 Sq.mm YWY Cable | M | 1200
c) | 5 C x 2.5 Sq.mm YWY Cable | M | 2200
d) | 3 C x 2.5 Sq.mm YWY Cable | M | 3500
Termination
a) | 37 C x 2.5 Sq.mm YFY Cable | Nos. | 4
b) | 12 C x 2.5 Sq.mm YWY Cable | Nos. | 40
c) | 5 C x 2.5 Sq.mm YWY Cable | Nos. | 64
d) | 3 C x 2.5 Sq.mm YWY Cable | Nos. | 90
Signature of the Bidder:
2.11 | Galvanised cable trays (2.0 mm thick sheets) of ladder
/perforated type, including joints, bends, reduces
etc., for the above cables alongwith supports
a) | 600 mm wide cable tray | M | 300
b) | 450 mm wide cable tray | M | 100
c) | 300 mm wide cable tray | M | 100
d) | Supports for cable trays | MT | 1
2.12 | Control, metering and relay panels:
a) | Generator Transformer Metering Panel | No | 1
b) | Generator Transformer Relay Panel along with PC, software and printer | No | 1
c) | Outdoor Tarrif Metering Kiosk with one no. TVM | No | 1
2.13 | Outdoor Marshalling Panel for Switchyard | Set | 1
2.14 | The new plant system shall have to be hooked up to the | LS | 1
existing SCADA system. All the signal hook arrangement &
interfacing with the existing system shall be in BIDDER
Scope.
SUB - TOTAL OF 2.0
Signature of the Bidder:
3.0 | Plant Electricals other than Switchyard:
3.1 | Cables and accessories :
Unloading, Laying of 11 kV UE grade XLPE cables for
Transformers mentioned in clause 1.0 and ET / NGR.
This scope includes supply and installation of
terminations as given below:
a) | 11 kV cables:(laying only in scope)
| 3Cx300 Sq.mm XLPE Cable | M | 900 | ------ | ------ | ------
b) | Termination kits for the above:
| 3Cx300 Sq.mm XLPE Cable | Nos. | 6
3.2 | PB stations with ON/OFF push buttons and indications lamps | Nos. | 1
for corresponding HT breaker Open/Close conditions in
transfomer area, for the
Generator Transformers complete with necessary supports,
hardware, grouting drilling etc. in an approved manner.
3.3 | 11kV outdoor duty IP55, Standalone Panel for | No | 1
transformer isolation purpose
Signature of the Bidder:
3.4 | Main & Check meters as per SLD and MSETCL | No. | 1
requirements
3.5 | Supply of Neutral Grounding Resistor for Earthing | No | 1
Transformer as per specification
3.6 | Supply of Earthing Transformer as per specification | No | 1
SUB - TOTAL OF 3.0
4.0 | Switchyard Engineering
| Engineering for switchyard including prepartion and | LS
submission of engineering drawings, documents and c
calculations, as furnished in the specification. This includes
furnishing of foundation design & execution drawings for main
Transformer switchyard and its related equipment. Necessary
inputs like FFL, FGL, Soil bearing capacity and Transformer
loadings shall be furnished during detailed engineering by
PURCHASER/CONSULTANTS.
SUB - TOTAL OF 4.0
Signature of the Bidder:
5.0 | Approval of Electrical Inspectorate, Maharashtra
| Preparation & submission of complete drawings including | LS
drawings for Electrical Statutory / Safety Authority,
Maharashtra approval, arranging for inspection & getting
safety certificates for the complete installation under the
scope. This shall also include drawing approval of the
complete 11kV system including Generator Transformer,
Converter, Distribution trasnformer pertaining to cogen which
shall additionally include preparation and submission of
drawings for 18 MW generator system and 11 kV
switchgears for cogeneration plant. Necessary inputs for
the 18 MW TG system shall be furnished by the
PURCHASER / CONSULTANT.
SUB - TOTAL OF 5.0
6 | Deputation of engineer for erection & commissioning
from the date of first receipt of material at site, till
commissioning & handling over of the site.
6.1 | Site Services
Signature of the Bidder:
6.2 | Carrying out of pre-commissioning checks for the compltete
equipment in the scope of erection & commissioning.
SUB - TOTAL OF 6.0
7.0 | GRAND TOTAL (1.0. to 6.0)
8.0 | Goods and Service Tax
9.0 | Total Supply Price Including Goods and Service
Tax (7.0 of Supply Part+8.0)
10.0 | Total Erection Price Including Goods and Service
Tax (7.0 of Erection Part +8.0)
11.0 | Total Supply & Erection Price Including Goods and
Service Tax (9.0+10.0)
Signature of the bidder:

## 3.4Schedules
3.4 | TIME SCHEDULE FOR ENGINEERING, MANUFACTURING, SHIPMENT AND E&C
Sl.No. | Description |  |  |  | Weeks (Start to End)
This Schedule shall be filled up to give a clear information to the PURCHASER regarding the BIDDER's proposed Project Schedule.
The Sheets gives the various activities (Project Engg. to Erection & Commissioning) and the BIDDER shall fill in the Start and Finish Dates for the various activities.
The Evaluation of the BIDS will take into consideration the filled in Schedule in the format given in the sheets
Signature Of The Bidder :
3.4 | TIME SCHEDULE FOR ENGINEERING, MANUFACTURING, SHIPMENT AND E&C
Sl.No | Description |  |  | Start Date | Finish Date | Remarks
Signature Of The Bidder :
3.5 | WEIGHTS AND DIMENSIONS
Sl.No. | Description of the items contained in the Package |  |  | Overall Dimensions of the Package in metres | Gross Weight (in KG) | Package Shipping Ref.No.
Note : The weights and overall dimensions of major packages shall be listed here.
Signature Of The Bidder :
3.6 | SPECIAL TOOLS & TACKLES FOR MAINTENANCE
NOTE: | The special tools for the routine & emergency maintenance of the plant shall be listed here.
Place where
Sl.No. | Component Description |  |  |  | the tool is | Remarks
to be used
Signature Of The Bidder :
3.7 | BIDDERS EXPERIENCE
| Name of the Bidder |  | :
NOTE: | Furnish only the experience with the following:
S.No | Description |  |  | Unit | Description
1 | No. of years in Switchyard Execution |  |  | Years
2 | Turn-over of Switchyard division for last three (3) |  |  | Rs. in Crores
years
3 | Details of Switchyard order value above |  |  | Nos.
Rs.5 Crores executed during the last three (3) years
4 | Project Execution Team Location
5 | Performance Certificates for Switchyard Execution |  |  | Years
for atleast Three (3) jobs of 132 kV, having
executed during the last three (3) years, under
MSETCL supervision
Reference No.1 :
Reference No.2 :
Reference No.3 :
6 | Performance Certificates for Transmission Line
Length Executed not less than 5 kM of 132 kV &
above, having executed during the last three (3)
years, out of which one (1) job should have been
executed at Maharashtra
Signature Of The Bidder :
3.7 | BIDDERS EXPERIENCE
S.No | Description |  |  | Unit | Description
Reference No.1 :
Reference No.2 :
Reference No.3 :
7 | Confirm whether the submitted offer has any |  |  |  | Yes / No
Deviations (if Yes, kindly ensure that the schedule
of deviations sheet is attached with the offer )
8 | In case deviation schedule is not furnished, confirm
compliance with technical requirements & scope
as per specification
9 | Whether the Bidder have visted plant site and |  |  |  | Yes / No
assessed the quantum of Work ?
Signature Of The Bidder :
3.8 | SCHEDULE OF GUARANTEES
| Name of the Bidder |  | :
Sl.No. | Description |  |  | Unit | Data to be furnished
1. | Rating |  |  | MVA
2. | Vector Group
3. | Voltage Ratio at no load on principle tapping |  |  | kV
4. | Tap Changer
| a. | OLTC / OCTC
| b. | Bi-directional |  | Yes / No
| c. | Make
| d. | Tapping Range
| e. | Number of steps
5. | No load loss (Maximum) |  |  | kW
6. | Load loss (Maximum) on ONAN rating |  |  | kW
7. | Auxiliary loss (Maximum) |  |  | kW
8 | Impedance voltage at rated current on ONAN rating
| a. | Principle tapping |  | %
| b. | Extreme (+ ve) tapping |  | %
| c. | Extreme (- ve) tapping |  | %
9. | Temperature rise above ambient of 50 Deg. C
| a. | Oil |  | Deg. C
| b. | Winding |  | Deg. C
| c. | Limit of hot spot temperature |  | Deg. C
| d. | Maximum hot spot temperature |  | Deg. C
Signature Of The Bidder :
3.8 | SCHEDULE OF GUARANTEES
Sl.No. | Description |  |  | Unit | Data to be furnished
10. | Approximate weight
| a. | Core |  | kg
| b. | Winding |  | kg
| c. | Oil |  | kg
| d. | Tank & other accessories |  | kg
| e. | Overall |  | kg
11. | Approximate overall dimension (L x B x H) |  |  | mm
12. | Core building factor
13. | Core Lamination
| a. | Material
| b. | Thickness
Signature Of The Bidder :